## Slide 1: RTSense: Passive RFID based Temperature Sensing
Swadhin Pradhan, and Lili Qiu
UT Austin
ACM SenSys 2020
Notes: In the second piece of work, we build RFID based temperature sensor which can easily be blended with the environment

## Slide 2: Why indoor temperature sensing ?
Users spend around 90% of the time indoors
Indoor personalized thermal comfort is needed
Cultivation, supply chain, and health sector usage
Notes: Heating, Ventilation, and Air-conditioning system

## Slide 3: Can we measure temperature exploiting impedance change due to temperature variation in RFID tags?
Notes: However, the future of IoT demands seamless and intuitive interface between users and the devices. In this setting, we ask that “Can we effectively transform everyday object into a touch interface ?” Can every possible item in our surrounding become a gateway to a possible interaction ? Chair, Table ..

## Slide 4: Yes! and Key Idea
Temperature variation changes the tag-antenna impedance
  Larger antenna surface area experiences more change
Impedance change manifests in change of reflected signal
Differential sensing of tag-pair used to predict temperature

## Slide 5: RTSense Tag-pair
Tag-pair based solution
  Battery-free and
  Cheap (~$2)
  Customizable
  Robust against change
Notes: Customizable ..

## Slide 6
Evaluation
Analytical Model

## Slide 7
Evaluation
Analytical Model

## Slide 8: Analytical model
Impedance Modeling of Dipole Tag Antenna
Temperature Impact on Antenna Impedance
Phase Change Modeling from Impedance Change

## Slide 9: Analytical R/L/C model of dipole
R =
+
w
l
d
t
DC Resistance
AC Resistance
Notes: Pro – 1.68*10-8, lambda is the wavelength, f is the frequency, epsilon is the permittivity of air 1.006 …Ansys HFSS meter and LCR meter ..

## Slide 10: Analytical R/L/C model of dipole
Notes: From 8 possible configuration, we choose this which matches the best …

## Slide 11: Temperature impedance model
Larger Width (30cm)
Smaller Width (5 cm)
Notes: VNA measurement versus accuracy with temperature change ... Matches Well …

## Slide 12: Phase impedance model
Distance
Component
Polarization
Component
Antenna Impedance
Component

## Slide 13: Phase impedance model and metric
B
Tag A
Tag B

## Slide 14: Algorithm sketch of RTSense
Calibration Stage
rTagA - rTagB
Temperature
Phase Metric
Tmin
Tmax
Estimation Stage
Mean of 20 Second of data
TPred

## Slide 15
Evaluation
Analytical Model

## Slide 16: Oven Iso-temperature setup

## Slide 17: Heat-gun Experimental Setup

## Slide 18: Tag-pair design selection
Larger area induces bigger change

## Slide 19: Related metrics
Analog Identifier (AID)
Differential Minimum
Threshold Power (DMRT)
Phase Difference (PD)
6.2
12.6
2.9

## Slide 20: Impact of distance
Error remains within ~10 degree

## Slide 21: Impact of orientation
Error remains within ~7 degree

## Slide 22: Related works of RTSense
Active RFID based Sensing
  WISP (IEEE RFID ‘07) , Ekhonet (Mobicom ‘14) …
Custom Tag based Sensing
  Gas Sensor (IEEE TMTT ‘13), Humidity Sensor (Sensors ‘12) …
RFID Tag Antenna Sensing (Closest)
  RFID Hacking (Mobicom ‘19), AID (EURFID ‘15) …
Notes: The main issues

## Slide 23: Key takeaways of RTSense
Antenna surface area can be exploited for sensing
Tag-pair based differential sensing can be used for robust approach against environmental changes
RTSense can achieve median error of ~3 degree
Questions ?
swadhin@utexas.edu